## Overview
Preliminary assessment of site solar irradiance
Project | Almería
Geographical coordinates | 36.848857°, -2.438965° (36°50'56", -02°26'20")
Report generated | 14 Feb 2020
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=36.848857,-2.438965,10

## Site_info
Project | Almería
Location | Calle Cantareros 86, 04009 Almería, Almería, Spain
Geographical coordinates | 36.848857°, -2.438965° (36°50'56", -02°26'20")
Time zone | UTC+01, Europe/Madrid [CET], Daylight saving time not considered
Elevation | 37 m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1765 | kWh/kWp
Direct normal irradiation | DNI | 2073 | kWh/m²
Global horizontal irradiation | GHI | 1893 | kWh/m²
Diffuse horizontal irradiation | DIF | 643 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 2197 | kWh/m²
Air temperature | TEMP | 19 | °C
Optimum tilt of PV modules | OPTA | 34 | °
Terrain elevation | ELE | 37 | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 135
Feb | 140
Mar | 176
Apr | 189
May | 206
Jun | 221
Jul | 218
Aug | 200
Sep | 168
Oct | 142
Nov | 127
Dec | 128
Yearly | 2051

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 10 | 60 | 98 | 47 | 5 | 0 | 0 | 0 | 0
6 - 7 | 0 | 0 | 32 | 182 | 309 | 331 | 280 | 206 | 97 | 31 | 0 | 0
7 - 8 | 22 | 116 | 314 | 421 | 431 | 463 | 421 | 397 | 369 | 297 | 160 | 41
8 - 9 | 332 | 436 | 477 | 524 | 528 | 570 | 533 | 508 | 486 | 436 | 412 | 347
9 - 10 | 504 | 532 | 560 | 599 | 606 | 653 | 623 | 590 | 565 | 500 | 486 | 484
10 - 11 | 575 | 598 | 623 | 652 | 648 | 704 | 683 | 653 | 617 | 555 | 538 | 548
11 - 12 | 611 | 645 | 674 | 684 | 676 | 734 | 710 | 686 | 648 | 577 | 574 | 582
12 - 13 | 617 | 654 | 678 | 689 | 681 | 733 | 718 | 694 | 649 | 576 | 566 | 583
13 - 14 | 585 | 616 | 633 | 658 | 661 | 716 | 706 | 680 | 619 | 532 | 530 | 555
14 - 15 | 534 | 567 | 579 | 606 | 615 | 674 | 668 | 641 | 565 | 477 | 480 | 495
15 - 16 | 449 | 497 | 517 | 548 | 547 | 601 | 600 | 573 | 491 | 398 | 391 | 403
16 - 17 | 139 | 331 | 423 | 454 | 454 | 506 | 503 | 470 | 393 | 208 | 99 | 99
17 - 18 | 0 | 23 | 167 | 272 | 337 | 384 | 376 | 308 | 109 | 1 | 0 | 0
18 - 19 | 0 | 0 | 0 | 13 | 80 | 187 | 160 | 36 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 4368 | 5015 | 5677 | 6312 | 6633 | 7354 | 7028 | 6447 | 5608 | 4588 | 4236 | 4137

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2019 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2019 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (© 2019 SRTM team)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2019 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2019 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2019 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2019 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2019 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2019 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2019 NOAA and NASA)