## Overview
Preliminary assessment of site solar irradiance
Project | Almeria
Geographical coordinates | 36.848857°, -2.438965° (36°50'56", -002°26'20")
Report generated | 18 Feb 2022
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=36.848857,-2.438965,10

## Site_info
Project | Almeria
Location | Centro de menores Jesús Redentor, Calle La Fuente de los Molinos, 04009 Almeria, Spain
Geographical coordinates | 36.848857°, -2.438965° (36°50'56", -002°26'20")
Time zone | UTC+01, Europe/Madrid [CET]
Elevation | 49 m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1771.8 | kWh/kWp
Direct normal irradiation | DNI | 2078.3 | kWh/m²
Global horizontal irradiation | GHI | 1894.4 | kWh/m²
Diffuse horizontal irradiation | DIF | 642.1 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 2199.2 | kWh/m²
Air temperature | TEMP | 19 | °C
Optimum tilt of PV modules | OPTA | 34 | °
Terrain elevation | ELE | 49 | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 136.3
Feb | 142
Mar | 174.9
Apr | 187.4
May | 207.4
Jun | 222.4
Jul | 217.1
Aug | 200.1
Sep | 167.1
Oct | 144.4
Nov | 127.3
Dec | 129.3
Yearly | 2055.8

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 10 | 61 | 100 | 47 | 5 | 0 | 0 | 0 | 0
6 - 7 | 0 | 0 | 31 | 182 | 314 | 335 | 279 | 208 | 97 | 32 | 0 | 0
7 - 8 | 22 | 117 | 316 | 418 | 436 | 469 | 419 | 398 | 368 | 302 | 162 | 41
8 - 9 | 336 | 438 | 476 | 519 | 533 | 576 | 533 | 509 | 483 | 443 | 415 | 352
9 - 10 | 508 | 535 | 559 | 592 | 612 | 658 | 622 | 592 | 560 | 507 | 488 | 490
10 - 11 | 577 | 604 | 619 | 642 | 653 | 709 | 681 | 655 | 610 | 562 | 539 | 553
11 - 12 | 614 | 652 | 669 | 677 | 681 | 738 | 709 | 686 | 643 | 583 | 573 | 586
12 - 13 | 620 | 659 | 672 | 683 | 685 | 737 | 716 | 694 | 646 | 584 | 566 | 588
13 - 14 | 590 | 623 | 628 | 651 | 663 | 720 | 704 | 680 | 616 | 543 | 530 | 559
14 - 15 | 537 | 576 | 574 | 598 | 620 | 677 | 666 | 640 | 563 | 486 | 479 | 498
15 - 16 | 453 | 506 | 513 | 541 | 552 | 604 | 597 | 572 | 488 | 406 | 392 | 406
16 - 17 | 142 | 336 | 420 | 450 | 459 | 509 | 501 | 471 | 389 | 211 | 101 | 100
17 - 18 | 0 | 24 | 166 | 271 | 341 | 389 | 373 | 308 | 108 | 1 | 0 | 0
18 - 19 | 0 | 0 | 0 | 13 | 81 | 191 | 159 | 36 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 4399 | 5070 | 5643 | 6247 | 6691 | 7412 | 7006 | 6454 | 5571 | 4660 | 4245 | 4173

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2021 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2021 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2021, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2021 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2021 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2021 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2021 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2021 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2021 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2021 ECMWF, post-processed by Solargis)